South Australian Public Health (Legionella) Regulations 2013

Warm Water System – Alternative Decontamination Procedure

Application Form

SITE DETAILS

Registered Business Name

ABN_______________________________________________________________________________

Address __________________________________________________________________________________

__________________________________________________________________________________

Trading Name of Premises

Site (Street) Address

Postal Address

Business Contact Phone	 Fax

Local Council Area

Description of Business Activities

Business Operating Hours

Contact Person for this Application

Name

Position Title

Business Contact Phone _______________________ Mobile

Is the Warm Water System Registered with the Local Council?

Yes (please attach a copy of the completed registration form)

No   (registration is a mandatory requirement - within 1 month of commissioning for new systems)

- RATIONALE FOR SEEKING AN APPROVAL

- Please detail your reason(s) for seeking an alternative decontamination procedure.

PROPOSED DECONTAMINATION PROCEDURE

Please detail your proposed alternative decontamination procedure for which you seek an approval, including methodology, biocide (type and concentration) and/or temperature/time information, contact time and monitoring and evaluation procedures. Please attach additional pages if necessary.

- WARM WATER SYSTEM DETAILS

Please Note: You must complete a separate application form for each warm water system for which you are seeking an approval.

- 1.	Water Heating Device

Make / Brand of System

Model No.

System Common Name / Identification No. (e.g. Floor 1; Warm Water System 1)

Source of Water Heating 	 Gas	 Electric

Other, please specify

Water Storage or Instantaneous?	 Storage	 Instant

- 2. Temperature Control Devices

Does the system have any temperature control devices fitted (e.g. thermostatic mixing valves/tempering valves)?

Yes, please indicate type(s) and number of devices

No

- 3.	Areas Serviced by System

Please indicate the areas and type and number of outlets serviced by the warm water system (e.g. ground floor bathrooms - 4 showers, 8 basins).

- 4. Water Supply

Please indicate the type of water supply utilised in the operation of this warm water system.

Reticulated water (mains water)

Recycled Water (please note: you are required to have an approval from SA Health)

Rainwater

Other, please specify_______________________________________________________________

- 5. Laboratory Results

Where available, please provide copies of all relevant laboratory testing results for the warm water system for the previous 12 months, including Legionella and heterotrophic colony counts (also referred to as total bacterial count).

I have attached copies

I do not have copies to attach

6. Current Decontamination Procedure

Please indicate the decontamination procedure currently in place for the warm water system.

Prescribed decontamination procedure set out in Schedule 3, Part 2 of the Guidelines for the Control of Legionella in Manufactured Water Systems in South Australia

Other, please specify

- 7. Other records / reports

Please attach copies of any additional relevant documents which may assist in processing your application (e.g. system servicing reports and maintenance records).

- I have attached copies

I do not have copies to attach

SYSTEM AND SITE PLANS

On the following pages you will need to provide plans of the warm water system and the site. You may do this by means of existing plans/schematics or by providing a drawing. If you are drawing plans of the system or site, please use the symbols provided in the key below to assist with this task (please note that you will need to print this form and provide your drawing in colour in order to show cold, warm and hot pipe work, outlets and direction of flow).

PLAN OF WARM WATER SYSTEM

Please draw (using the symbols on page 4) or provide a plan identifying all major components of the warm water system for which you seek an approval (including cold, hot and warm pipe work, direction of flow, water storage and heating devices and temperature control devices such as thermostatic mixing valves and tempering valves, if fitted).  Please attach additional pages if necessary.

- SITE PLAN

Please draw or provide a plan identifying the location of the warm water system on the premises, including all areas serviced by the system.  Where necessary, attach additional pages.

- DECLARATION BY APPLICANT / OWNER

- I supply the following details with my application:

Site & system details

Copy of completed registration form (containing business details, operation/maintenance contacts etc)

Proposed alternative decontamination procedure

Laboratory results (where available)

Other records / reports

Plan of major system components (with attachment(s) where necessary)

Site plan (with attachment(s) where necessary)

Application fee (payable to the Department for Health and Ageing)

I understand that SA Health may require further details if necessary, and that failure to supply all the details referred to in this application form and any additional information requested by SA Health may delay or prevent processing of this application

I declare that the contents of this application are true, complete and to the best of my knowledge in every particular. I have not made a false or misleading statement in a material particular (whether by the inclusion or omission of any particular) in any information provided in the content of this application.

NAME: ________________________________________________________________________________

POSITION: _____________________________ COMPANY: _____________________________________

ADDRESS: ____________________________________________________________________________

______________________________________________________________________________________

SIGNATURE: _______________________________________________ DATE: _______/______/_______

APPLICATION & PAYMENT DETAILS

Please refer to the following website for current fees:

http://www.health.sa.gov.au/pehs/legionella-regulations-guidelines.htm

Please forward your application and the required fee (GST is not applicable) by cheque or money order, to the following address:

Health Protection Programs

SA Health

PO Box 6

RUNDLE MALL  SA  5000

Phone: (08) 8226 7100

Fax:     (08) 8226 7102

Email: legionella@health.sa.gov.au

For further information, please contact Health Protection Programs.