South Australian Public Health (Legionella) Regulations 2013

Cooling Water System - Alternative Decontamination Procedure

Application Form

SITE DETAILS

Registered Business Name

ABN_______________________________________________________________________________

Address __________________________________________________________________________________

__________________________________________________________________________________

Trading Name of Premises

Site (Street) Address

Postal Address

Business Contact Phone	 Fax

Local Council Area

Description of Business Activities

Business Operating Hours

Total Number of Cooling Towers on the Site

Contact Person for this Application

Name

Position Title

Business Contact Phone _______________________ Mobile

Is the Cooling Water System Registered with the Local Council?

Yes (please attach a copy of the completed registration form)

No   (registration is a mandatory requirement - within 1 month of commissioning for new systems)

RATIONALE FOR SEEKING AN APPROVAL

Please detail your reason(s) for seeking an alternative decontamination procedure.

PROPOSED DECONTAMINATION PROCEDURE

Please detail your proposed alternative decontamination procedure for which you seek an approval, including methodology, biocide type and concentration and contact time, monitoring and evaluation procedures. Please attach additional pages if necessary.

COOLING TOWER DETAILS

Please complete pages 3 and 4 for each cooling tower in the cooling water system for which you seek an approval.

1. Cooling Water System Details

Application of Cooling Water System

Air Handling

Process Cooling, please specify

Other, please specify ______________________________________________________________

How many cooling towers are part of this cooling water system?

2. Cooling Tower Details

Make / Brand

Model No.

System Common Name / Identification No. (e.g. system 1; cooling tower 1)

3.	Location of Cooling Tower

Roof 	 Ground 	 Plant Room

Other, please specify

4.	Frequency of Operation

Continuous

Seasonal (please specify months) ____________________________________________________

Other, please specify

5. Maintenance Program

Please indicate the maintenance program for the cooling water system.

Section 2.5 of AS/NZS 3666.2

Section 3 of AS/NZS 3666.3

A program approved by the Minister (please attach the approval as an appendix to this application)

6. Current Decontamination Procedure

Please indicate the decontamination procedure currently in place for the cooling water system.

Prescribed decontamination procedure set out in Schedule 3, Part 1 of the Guidelines for the Control of Legionella in Manufactured Water Systems in South Australia

Other, please specify

7. Automatic Biocide Dosing Devices

Is the cooling tower/cooling water system fitted with an automatic biocide dosing device (compliant with regulation 7 of the South Australian Public Health (Legionella) Regulations 2013)?

Yes;    single     dual / alternating

No     (this is a mandatory requirement)

8.  Drift Eliminator

Does this cooling tower have a drift eliminator fitted (compliant with regulation 8 of the South Australian Public Health (Legionella) Regulations 2013)?

Yes

No – this is a mandatory requirement;             have you been granted an exemption by the Minister?	                              Yes   (please attach)        No

9. Water Supply

Please indicate the type of water supply utilised in the operation of this cooling tower.

Reticulated water (mains water)

Recycled Water (please note: you are required to have an approval from SA Health)

Rainwater

Other, please specify_______________________________________________________________

10. Laboratory Results

Where available, please provide copies of all relevant laboratory testing results for the cooling water system for the previous 12 months, including Legionella and heterotrophic colony counts (also referred to as total bacterial count).

I have attached copies

I do not have copies to attach

11. Other Records / Reports

Please attach copies of any additional relevant documents which may assist in processing your application (e.g. system servicing/inspection reports and maintenance records).

I have attached copies

I do not have copies to attach

SYSTEM AND SITE PLANS

On the following pages you will need to provide plans of the cooling water system and the site. You may do this by means of existing plans/schematics, drawings or by utilising imaging or photographic applications as appropriate (e.g. Google Maps™ etc). If you are drawing plans of the system or site, please use the symbols provided in the key below to assist with this task.

PLAN OF COOLING WATER SYSTEM

Please draw (using the symbols on page 5) or provide a plan which identifies all major components of the cooling water system for which you seek an approval. Please attach additional pages if necessary.

Please Note: Under the Regulations, ‘major components’ of a high risk manufactured water system includes cooling towers, condensers, filtration devices, automatic biocide dosing devices, drift eliminators, water inlets, waste outlets and discharge points, and water storage facilities.

SITE PLAN

Please draw (using the symbols on page 5) or provide a site plan identifying the location of all cooling tower(s), including those in other systems. You must also provide details of the site layout, including proximity of cooling tower(s) to building air intakes, location of any neighbouring schools, health care or aged care facilities and any other relevant information. Please attach additional pages if necessary.

DECLARATION BY APPLICANT / OWNER

I supply the following details with my application:

Copy of completed registration form (containing business details, operation/maintenance contacts etc)

Site & cooling tower details

Proposed alternative decontamination procedure

Laboratory results (where available)

Other records / reports

System plan, showing major components (with attachment(s) where necessary)

Site plan (with attachment(s) where necessary)

Application fee (payable to the Department for Health and Ageing)

I understand that SA Health may require further details if necessary, and that failure to supply all the details referred to in this application form and any additional information requested by SA Health may delay or prevent the processing of this application

I declare that the contents of this application are true, complete and to the best of my knowledge in every particular. I have not made a false or misleading statement in a material particular (whether by the inclusion or omission of any particular) in any information provided in the content of this application.

NAME: ________________________________________________________________________________

POSITION: _____________________________ COMPANY: _____________________________________

ADDRESS: ____________________________________________________________________________

______________________________________________________________________________________

SIGNATURE: _______________________________________________ DATE: _______/______/_______

APPLICATION & PAYMENT DETAILS

Please refer to the following website for current fees:

http://www.health.sa.gov.au/pehs/legionella-regulations-guidelines.htm

Please forward your application and the required fee (GST is not applicable) by cheque or money order, to the following address:

Health Protection Programs

SA Health

PO Box 6

RUNDLE MALL  SA  5000

Phone: (08) 8226 7100

Fax:     (08) 8226 7102

Email: legionella@health.sa.gov.au

For further information, please contact Health Protection Programs.